## Table S-1
Table S-1 Acquisition parameters for X-ray microtomography. The experiments were conducted at the Institute of Earth Sciences (Lausanne, Switzerland) on a Skyscan 1173 system. One piece of sample AHA-NEMO2-D22A has been studied and four for sample AHA-NEMO2-D22B. The piece number is indicated as well as the voltage (in kV), the current (in µA), the rotation step size (in degrees), the number of frames (which is the number of images taken for one position), the filter type used and the resolution (in µm per pixel). The resolution in µm3 per voxel (1 voxel = 1 x 1 x 1 pixel) is the cubic resolution in µm per pixel.
Sample | # | Voltage | Current | Rotation step size | Number of frames | Filter | Pixel size
|  | kV | µA | ° |  |  | µm
AHA-NEMO2-D22A | 1 | 70 | 114 | 0.225 | 4 | Al 1.0 mm | 5.7
AHA-NEMO2-D22B | 1 | 70 | 114 | 0.225 | 4 | Al 1.0 mm | 8.2
AHA-NEMO2-D22B | 2 | 70 | 114 | 0.225 | 4 | Al 1.0 mm | 6.4
AHA-NEMO2-D22B | 3 | 70 | 114 | 0.225 | 4 | Al 1.0 mm | 5.7
AHA-NEMO2-D22B | 4 | 70 | 114 | 0.225 | 8 | Al 1.0 mm | 9.3
Péron et al. (2017) Geochem. Persp. Let. 3, 151-159 ¦ doi: 10.7185/geochemlet.1718
© 2017 European Association of Geochemistry
Péron et al.
Solar wind implantation supplied light volatiles during the first stage of Earth accretion